PRT EEG — Session RA Checkout

Roles Overview

☐ Understands lead RA vs. supporting RA responsibilities.

→ Lead RA knows all steps and key criteria. Supporting RA aids setup/cleanup and has specific defined responsibilities (e.g., running psychopy, managing monitors).

☐ Can explain the procedure if the participant needs a break or bathroom trip.

→ Know when to pause, how to hold the state, and how to resume without compromising data.

Pre-Subject Arrival Prep

☐ Retrieves the correct session order material and scan sheet for the subject.

→ Match the participant's version pool and order. Do not use the wrong sheet.

☐ Prepares all equipment and moves it to the correct position before participant arrives.

→ Know what CAN and CANNOT be unplugged. Until other groups use the room, equipment can remain out between sessions.

☐ Checks the battery charger socket and plugs/unplugs appropriately.

☐ Inspects EEG electrodes for dried gel and cleans with Q-tip and alcohol if needed.

→ Dried gel on electrodes degrades signal quality.

☐ Verifies ABR pre-amp connections and loads the correct BrainVision workspace.

☐ Confirms cap fit and placement criteria (Cz at vertex, ears not occluded).

Gelling

☐ Sets a timer before starting gelling to stay on pace.

→ Gelling can run long — a timer ensures you move on before time runs out.

☐ Follows the electrode priority order: ABR, Ref + GND, frontal/parietal, TP9/10, back occipital.

→ Some electrodes are more critical for data quality. If time is short, prioritize accordingly.

☐ Knows the acceptable impedance threshold for key electrodes (≤10 kΩ, ideally green).

☐ Understands when to work on clusters of neighboring electrodes rather than single electrodes.

→ Neighboring electrode signals interact. Working on clusters improves overall signal quality.

☐ Inserts headphones correctly (same method as at the scanner — required for ABR audio level).

☐ Double-checks impedances intermittently throughout the session.

→ Impedances can drift. Periodic re-checking catches issues early.

☐ Puts the battery on the charger at the end of every session.

Data Quality Monitoring

☐ Performs a QA visual of click trials — can identify what good-quality ABR peaks look like.

→ Good quality: identifiable peaks at expected latencies. Poor quality: flat, noisy, or irregular traces.

☐ Operates BrainVision Recorder: knows how to start/stop recordings, switch workspaces, and check signal quality.

☐ Operates the stimulus presentation program: knows how to start a run, monitor triggers, and identify end-of-stimulus markers.

During the Session

☐ Can switch between monitors in the experiment room smoothly.

☐ Knows the script/module that pops up from the desktop icon and how to navigate it.

→ The script should be accessible from a clickable desktop module to reduce friction mid-session.

☐ Monitors participant compliance and adjusts pacing as needed.

Post-Session Cleanup

☐ Leads or participates in the two-RA cleanup system effectively.

→ RA 1: cleans cap + electrodes, returns cap to cabinet, leaves electrodes out to dry. RA 2: cleans room, puts equipment away, wipes surfaces.

☐ Understands that the person cleaning the cap returns to the room afterward to put the cap away and leave electrodes out to dry.

☐ Completes towel duty.

Trainer Sign-Off

| Competency | Trainer Initials | Date |
| --- | --- | --- |
| Pre-session prep & equipment setup | Trainer initials: ___ | Date: ___________ |
| Gelling + impedance management | Trainer initials: ___ | Date: ___________ |
| Click QA / data quality visual | Trainer initials: ___ | Date: ___________ |
| BrainVision + stimulus software operation | Trainer initials: ___ | Date: ___________ |
| Break/bathroom procedure | Trainer initials: ___ | Date: ___________ |
| Full session — independent as lead RA | Trainer initials: ___ | Date: ___________ |
| Cleanup & post-session protocol | Trainer initials: ___ | Date: ___________ |